## Slide 1
Water Users Workshop 2014
Dam Safety Issues
David K. Marble, P.E.

## Slide 3
Outline – We do fix things
Minimum Standards update
Fairview Lake
Manderfield
Rule Changes
Inspections and Monitor
Baker Dam
Red Creek Dam
South Creek Dam

## Slide 4
Total dams investigated
- Completed 186
Need Rehab 133
- On-going 14
Construction Projects
- Rehab complete 36
- Rehab partial 9
Under Construction 2
Under Final Design 5
Dams on Priority list 82

## Slide 5
Fairview Lake
Designer – Franson Civil Engineers
Safety Deficiencies
- Seepage
- Slope Stability
- Seismic Stability
- Poorly constructed spillway

## Slide 13
Manderfield Dam
Designer – RB&G Engineering
Safety Deficiencies
- Seepage
- Sinkholes in Basin
- Slope Stability
- Seismic Stability
- Spillway capacity

## Slide 20
Rule Modifications for dams in Utah
Seismic Standards – 84% attenuation for high and moderate
(In effect) moderate may be reduced to 50%
Spillway Design Flood – Current is PMF for high and moderate
(Proposed) moderate may be reduced to 1,000 year event
Design review process – Preliminary Design
(Proposed) Design Reports/Conceptual Drawings
Design Review Meeting
Final Design
Modified reports, Drawings, Specs

## Slide 21
Inspections and Monitoring
Why keep worrying about a dam after many years of successful operation?

## Slide 22
Baker Dam
Built in 1950

## Slide 25
Built in 1960

## Slide 28
South Creek Dam
Built in 1988

## Slide 34
Canals in Utah
House Bill 370
The State Engineer shall, by July 1, 2017, inventory and maintain a list of all open human-made water conveyance systems that carry 5 cubic feet per second….
The State Engineer … may contract with a local conservation district …. To provide technical support for a canal owner who is adopting a management plan….

## Slide 35
Questions