# Agency Legislation

CHAPTER 5a

DAM SAFETY

73-5a-202.   Submission of plans.	
     (1) Before a dam is constructed, enlarged, repaired, altered, removed, or abandoned, plans for the work shall be submitted to the state engineer for his approval, unless the dam:	
     (a) impounds less than 20 acre-feet of water; and	
     (b) does not constitute a threat to human life if it fails. is not classified as a high hazard structure.	
     (2) (a) The plans shall be submitted 90 days before:	 
     (i) awarding the construction contract; or	
     (ii) the commencement of construction, if the owner constructs the dam.	
     (b) The state engineer may shorten the 90-day review period if the owner and the design engineer submit satisfactory preliminary plans and design reports for review.
     (3) The state engineer may waive the requirement of plans if it can be demonstrated that failure of the proposed dam:	
     (a) does not constitute a threat to human life; and	
     (b) may result in only minor property damage that would be limited to property held by the owner of the structure.

73-5a-501.   State engineer to inspect dams.  The state engineer shall inspect each dam which in his opinion poses a threat to human life or could cause significant property damage if it failed. Inspections shall occur at increments commensurate with the relative risk to life and property, but not less than once every five years. The state engineer, at his discretion, may inspect any dam.